## Sheet1
SCHEMATIC
2015 |  |  |  | 2025
Existing System (7.45 kW in two strings) from 2015 |  |  |  | 2025 Extension (10.56 kW in two strings)
Solar Panel 285w |  | Solar Panel 285w | Solar Panel 250w | Solar Panel 440w | Solar Panel 440w
Solar Panel 285w |  | Solar Panel 285w | Solar Panel 250w | Solar Panel 440w | Solar Panel 440w
Solar Panel 285w |  | Solar Panel 285w | Solar Panel 250w | Solar Panel 440w | Solar Panel 440w
Solar Panel 285w |  | Solar Panel 285w | Solar Panel 250w | Solar Panel 440w | Solar Panel 440w
Solar Panel 285w |  | Solar Panel 285w | Solar Panel 250w | Solar Panel 440w | Solar Panel 440w
Solar Panel 285w |  | Solar Panel 285w | Solar Panel 250w | Solar Panel 440w | Solar Panel 440w
Solar Panel 285w |  | Solar Panel 285w | Solar Panel 250w | Solar Panel 440w | Solar Panel 440w
Solar Panel 285w |  | Solar Panel 285w |  | Solar Panel 440w | Solar Panel 440w
Solar Panel 285w |  | Solar Panel 285w |  | Solar Panel 440w | Solar Panel 440w
Solar Panel 285w |  | Solar Panel 285w |  | Solar Panel 440w | Solar Panel 440w
|  |  |  | Solar Panel 440w | Solar Panel 440w
|  |  |  | Solar Panel 440w | Solar Panel 440w
String 1 |  |  | String 2 | String 3 | String 4
24 Panels 1.046 x 1.169 = 12.552 x 2.338
SolarEdge SE3000 |  |  | SolarEdge SE3000 | Fronius 10kW GEN24 3-phase hybrid SYMO
(Export Limited 7.4kW) |  |  | (Export Limited 7.4kW)
Immersun Diveret to Hot Water
Batteries BYD-HVM-2.76kWh x 5
FIT Meter
| Consumer Unit 1 (1 phase, fed from Consumer Unit 2) |  |  | Consumer Unit 2 (3 phase)
| 8 kW A2W Heat Pump |  |  | 3-phase zappi