## Octopus
design temp | 50
room | heat loss (-2°c) | heat loss (15°c) |  | rad output (@DT50) | Output bboe | f1 factor | room temp | MWT | Flow temp | calculated DT | DT | Minimum MWT | Minimum flow
bathroom | 472 | 123.1304 |  | 1031 | 989.76 | 0.47688 | 22 | 50.5327 | 53.0327 | -1.0654 | 5 | 26.5238 | 29.0238
bedroom 1 | 602 | 157.0435 |  | 1282 | 1230.72 | 0.48914 | 18 | 47.0867 | 49.5867 | 5.8265 |  | 22.6401 | 25.1401
bedroom 2 | 253 | 66 |  | 888 | 852.48 | 0.29678 | 18 | 37.9205 | 40.4205 | 24.159 |  | 20.8153 | 23.3153
bedroom 3 | 565 | 147.3913 |  | 1084 | 1040.64 | 0.54294 | 18 | 49.479 | 51.979 | 1.0419 |  | 23.1504 | 25.6504
bedroom 4 | 546 | 142.4348 |  | 1174 | 1127.04 | 0.48445 | 18 | 46.8752 | 49.3752 | 6.2495 |  | 22.5956 | 25.0956
en-suite shower room | 448 | 116.8696 |  | 1405 | 1348.8 | 0.33215 | 21 | 42.6941 | 45.1941 | 14.6118 |  | 24.1508 | 26.6508
Entrance hall | 601 | 156.7826 |  | 1174 | 1127.04 | 0.53326 | 18 | 49.0529 | 51.5529 | 1.8941 |  | 23.0585 | 25.5585
Landing | 373 | 97.3043 |  | 829 | 795.84 | 0.46869 | 18 | 46.1604 | 48.6604 | 7.6792 |  | 22.446 | 24.946
Laundry room | 557 | 145.3043 |  | 1174 | 1127.04 | 0.49421 | 18 | 47.3149 | 49.8149 | 5.3702 |  | 22.6882 | 25.1882
dining room | 1121 | 292.4348 | see 2 separate below | 2668 | 2561.28 | 0.43767 | 21 | 47.737 | 50.237 | 4.526 |  | 25.1518 | 27.6518
office | 612 | 159.6522 |  | 1274 | 1223.04 | 0.50039 | 21 | 50.5921 | 53.0921 | -1.1841 |  | 25.7468 | 28.2468
Store | 391 | 102 |  | 984 | 944.64 | 0.41391 | 16 | 41.6301 | 44.1301 | 16.7398 |  | 19.9265 | 22.4265
WC | 91 | 23.7391 |  | 484 | 464.64 | 0.19585 | 18 | 32.5395 | 35.0395 | 34.921 |  | 19.8579 | 22.3579
Total heat loss | 6632 | [6 empty] | Flow Temp neded | 54°c
[8 empty] | Minimum Temp without cycling (external 15°c) | ~40°c
column 1600*500 |  |  |  | 1000 |  |  |  | Minimum flow temprature | 30°c
K2 Vert 1800*500 |  |  |  | 1668
[8 empty] | ((Fn^(1/1.32))*50)+Gn | (Hn+(K3/2)) | (B1-Hn)*2
Values in GREEN can be changed and edited to suit your house or system design. Values in RED should not be edited as these are automatically calculated. Flow temp needed is calculated by going to the next whole degree value above the highest flow temprture. Minimum Temp Without Cycling is based on 15*c outside and refrencing the radiator output table below (Daikin EDLA09 units aeem to sacrafice COP below 4kw output). Minimum flow temprature is calculated by going to the next whole degree value above the highest value in minimum flow.
House load per °c | 0.28835
House Heatloss @15 | 1.7301
Output of current radiators
Total radiator output @dt50 | 15451 | This is the output of the radiators with a flow temp of 70°c, as used by manufacturers and the calculations above
Total radiator output @dt30 | 7880.01 | flow temp 50°c
Total radiator output @dt20 | 4635.3 | flow temp 40°c
Total radiator output @dt15 | 3244.71 | flow temp 35°c
Total radiator output @dt10 | 1854.12 | flow temp 30°c
Total radiator output @dt5 | 772.55 | flow temp 25°c